HOT WORK PERMIT

CITY OF PORT ANGELES

FIRE DEPARTMENT

Attn: Fire Marshal

102 E. Fifth St., Port Angeles, WA 98362

Phone: (360) 417-4653  Fax: (360) 417-4659

FireInspections@cityofpa.us

| APPLICANT TO COMPLETE |  |
| --- | --- |
| Name of Applicant:___________________________________________ | Date:______________________ |
| Address:____________________________________________________ | Telephone:_________________ |
| Location of hot work:_____________________________________________________________________________ |  |
| Name of Ship (if applicable):_______________________________________________________________________ |  |
| Area of cutting or welding: _________________________________________________________________________ |  |
| Last known product in area of welding: _______________________________________________________________ |  |

Permit duration:

- up to 5 days		$50.00

- 6 to 30 days		$100.00

- 31 to 90 days	$200.00

- 91 to 180 days	$300.00

- 181 to 365 days	$500.00

- After Hours Charge	$35.00

| FOR CITY USE ONLY |  |
| --- | --- |
| Special precautions:_______________________________________________________________________________ |  |
| Permit issued by:_____________________________________________ | Permit Number:_____________________ |
| Permit Fee Paid (date):________________________________________ | $:________________________________ |
| Date Issued:_____________________________________________________________________________________ |  |
| Permit Expires:__________________________________________________________________________________ |  |

I have read and understand the requirements of this permit.

____________________________________________________________________________________________

Hot Work Supervisor or Marine Chemist		Signature & License #

I have read and understand the requirements of the Ship’s Emergency Response Procedures                          (if applicable).

__________________________________________________________________

Ship's Captain or Ship's Representative Signature

City of Port Angeles

Ship Emergency Response Procedures

While in the City of Port Angeles, should any emergency occur requiring medical or fire response, the following will need to be completed.

I	NOTIFICATION: Notify the City of Port Angeles emergency dispatch center utilizing one
of the various options:

- Dial 9-1-1.

- Contact Port Angeles Coast Guard group 457-4404 or 417-5840.

- VHF radio frequency

Rx 155.8200 TPL 100.0

Tx 158.8950 TPL 110.9

- Fire alarm pull station on the pier.

- Coast Guard monitors marine frequencies 16,22 and 81

II	LIAISON: Send a liaison person who speaks English to the gangway (dock side) with the
following material for each type of emergency:

Medical Emergency: Liaison should have a ship radio and will need to know where the victim is and the nature of problem. Guiding medics to the victim will be the liaison's responsibility.

Fire Emergency: Liaison shall be an engineer, have a radio, ship master fire plan, hazardous cargo, and cargo manifest. Ship engineer will be used as a technical assistant in formulating fire response plan.

III	COMMAND: The Port Angeles Fire Department will be operating in a unified command structure with the master of the ship. Fire Department commander will want to know what the current situation is and what is being done to combat the problem along with what amount of resources. Fire Department tactical radio frequency will be VHF channel 153.7850 TPL CSQ.

Port Angeles Fire Department

Hot Work Permit

Section I - Requirements & Limitations

Issuance of this permit is subject to compliance with the below listed requirements and approval by field inspection and any necessary tests. The listed requirements are specified in the International Fire Code Chapter 35, NFPA Standard #312, #326, and #51B.

This permit is to be on the premises at all times.

Supervisor Requirements:

- Before cutting or welding is permitted, the area shall be inspected by the individual (supervisor) responsible for authorizing cutting and welding operations to ensure it is a fire safe area.

- The supervisor shall be responsible for the safe handling of cutting and welding equipment and for the safe operation of the cutting and welding process.

- The supervisor shall determine the combustible material and hazardous areas present or likely to be present in a work location.

- Supervisors shall protect combustibles from ignition by the following.

a.	Have the work moved to a location free from combustibles.

b.	If the work cannot be moved, have the combustibles moved to a safe distance from
the work or have the combustibles properly shielded.

c.	See that cutting and welding are scheduled so that operations that might expose
combustibles to ignition are not started during cutting or welding.

- The supervisor shall determine that fire protection and extinguishing equipment are properly located at the site.

- The supervisor shall make a final check one-half hour after the completion of cutting or welding operations to detect and extinguish possible smoldering fires.

General Permit Requirements:

1.	Cutting or welding shall not be permitted in the following situations:

a.	In areas not authorized by the Fire Department and supervisor.

b.	In sprinklered buildings while such protection is impaired.

c.	In the presence of an explosive atmosphere (mixtures of flammable gas, vapors,
liquids, or dust with air) or an explosive atmosphere that may develop inside
improperly prepared drums, tanks, or other containers that have previously contained
such materials or that may develop in areas with an accumulation of combustible
dust.

Exception: Those areas which are inerted as described in Section II may be allowed to have welding or cutting operations conducted.

d.	In areas near the storage of large quantities of exposed, readily ignitable material.

- Cutting and welding equipment shall be in good operating condition and good repair.

- If combustible material is on the floor, the floor shall be swept clean for a radius of 35 feet. Combustible floors shall be kept wet, covered with damp sand or protected by a fire resistant shield.

- Openings or cracks in walls, floors, or ducts within 35 feet of the site shall be tightly covered to prevent the passage of sparks to adjacent areas.

- Conveyer systems that might carry sparks to combustibles shall be protected.

- Cutting or welding on metals in contact with combustible walls, partitions, ceilings, or roofs shall not be undertaken if the work is close enough to cause ignition by conduction.

- Compressed gas cylinders shall be secured to prevent falling or being knocked over.

- Cylinder storage at the site shall be connected for use except that enough additional cylinders may be stored at the site to furnish approximately one day consumption of each as used. Other cylinders shall be stored in approved storage areas designated by the Fire Department.

- Cylinder valves shall be closed when equipment is unattended and valve caps shall be placed except when the cylinders are in service or connected ready for service.

- Welding and cutting operations shall be performed with approved equipment that has been examined and tested. All cylinders used for the storage of compressed gases shall be in accordance with nationally recognized safe practices.

- Hoses shall be capable of withstanding an hydrostatic pressure of 800 pounds per square inch with hose connections being clamped or otherwise securely fastened in a manner to withstand, without leakage, twice the pressure to which they are normally subject in service but in no case less than 300 pounds per square inch.

- The use of liquid acetylene is prohibited.

Fire Protection

- Fully charged and operable fire extinguishers, appropriate for the type of possible fire, shall be available at the work area at a minimum of two fire extinguishers with a 2A-20-BC rating shall be located where the welding or cutting is to be done. A fire hose may replace one of the extinguishers. Additional fire protection equipment may be necessary depending on the location of welding and the severity of the hazard.

- When welding or cutting is done in close proximity to a sprinkler head, a wet rag shall be laid over the head and then removed at the conclusion of welding. Special precautions shall be taken to avoid accidental operation of automatic fire detection or suppression systems.

- A fire watch shall be maintained for at least one-half hour after completing cutting or welding operations to detect and extinguish any possible smoldering fires.

a.	Fire watchers shall have fire extinguisher equipment readily available and be trained
in its use.

b.	Fire watchers will be familiar with the facility and procedures for sounding the alarm
in the event of a fire.

c.	Fire watchers shall watch for fires in all exposed areas and try to extinguish them first
only when obviously within the capacity of the equipment available or otherwise
sound the alarm immediately.

- When hot work processes cannot be properly safeguarded in making the necessary repair, such repairs shall be accomplished by safer means such as drilling, sawing, bolting, or other appropriate means.

- No welding, burning, or other open flame or spark producing machine or operations such as chipping, grinding, etc., shall be permitted in close proximity to the application of flammable paints or flammable compounds. Adequate ventilation shall be provided to maintain an atmosphere at not more than 10% of the lower explosive limit or below the lower limit of toxicity for the particular material as determined by a certified person.

I have read and understand the above requirements.

Signature	Date

Port Angeles Fire Department

Hot Work Permit

Section II- Welding on Small Tanks & Containers

Work on tanks or containers that have held liquids or gases shall be performed under the supervision of persons who understand the fire and explosion potential involved. Workers shall be sufficiently skilled to safely carry out the operation necessary.

To ensure safe conditions within the tank or container, tests shall be made for flammable vapors generally with the appropriate combustible gas indicator and shall also be conducted frequently during the course of the work. All work shall be stopped immediately when the presence of flammable vapors are indicated by the test.

Tanks and containers may need to be cleaned to reduce the accumulation of flammable vapors. Prior to cleaning, the tank or container shall be vented adequately to protect personnel from harmful exposure of toxic vapors or gases. Empty and drain the tank or container and flush with proper cleaning liquid. Disconnect, plug, or blank off all piping or other connections to the tank or container being cleaned. Safely dispose of all liquid or solid residue material.

If the flammable liquid is water soluble, it can be removed by completely filling the container with water and draining repeatedly several times. Extreme care should be taken to eliminate all vapors.

Gas freeing may be accomplished by purging with air and a safe atmosphere may be sustained by continuing the ventilation. When openings of sufficient size are available, air movers that do not provide an ignition source may be attached so that air is drawn through one opening and discharged through another. An effective bond shall be maintained between the air mover and the tank or container being cleaned.

Inerting of vapor space by means of reducing the oxygen content to the point where combustion cannot take place, can be obtained by placing sufficient quantities of dry ice or C02 in the container (1.5 pounds per 100 gallons). Close all openings in the tank or containers with the exception of the filling connections and vent. Introduce the inert gas into the tank. Portable carbon dioxide extinguisher shall not be used for the purpose of inerting a tank because of the generation of static electricity. Evenly distribute dry ice over the bottom of the container to create rapid evaporation. Ensure the vented flammable vapors are being released to the outside atmosphere and not being collected in a dangerous area.

Steam cleaning maybe introduced into the tank or container through a pipe inserted through the opening and shall be bonded to the container.

Chemical cleaning maybe permitted with a chemical solution. The use of goggles and gloves and other necessary preventive clothing should be considered with this operation.

Testing for flammability is the most important phase of the cleaning procedure and determines whether or not cleaning has been effective. Readings from a combustible gas indicator giving percentage of the lower flammable limits of the vapors present in the atmosphere should be conducted.

Notify the Port Angeles Fire Department prior to welding operations.

24-HOUR NOTICE FOR INSPECTION IS REQUIRED

A final inspection and approval thereof is necessary before a permit will be issued. The Fire Prevention Bureau must be notified 24 hours ahead of time for any tests or inspections.

I have read and understand the above requirements.

Signature	Date